AGENDA

SPECIAL MEETING

WATERFORD SCHOOL BUILDING COMMITTEE

WATERFORD, CONNECTICUT

DATE:		Thursday, May 10, 2012

PLACE:	Board of Education Offices, Conference Room B

TIME:		5:30 p.m.

I. 	Establishment of Quorum and Call to Order

##### II.	Recognition of Visitors/Public Comment

##### III.	Correspondence/Informational Items

##### IV.	Superintendent’s Report

##### V.	New Business

Renovate Status and JCJ Proposal

##### VI.	Old Business

Approval of Minutes:  April 17, 2012 Regular Meeting; and April 24, 2012 Special meeting

##### VII.	Consent Agenda

##### WATERFORD HIGH SCHOOL CHANGE ORDERS:

New Building Addition Items:

- Manafort T&M work performed from 3/19/2012 to 3/22/2012, in the amount of $4,510.37, for hand excavating, forming, pouring, and backfilling the piers at the north of Area F, per RFI#393.  This includes:

  - Hand excavation to the top of each of (4) concrete footings

  - Drill & epoxy reinforcing (using Hilti adhesive) for (4) concrete pier extensions

  - For and pour concrete for concrete pier extensions

- Manafort T&M performed from 3/16/2012 to 3/22/2012, in the amount of $5,394.33, for the infill of the concrete precast shelf between column lines AA/1 & Y/1, per RFI#431.  This includes:

  - Removal of water/vapor barrier, roughening of concrete, and installation of RX-101 waterstop

  - Drill and epoxy reinforcing (using Hilti adhesive)

  - Form and pourconcrete for the concrete wall infill

- Shepard Steel Change Order Credit #M2 in the amount of ($1,375.00), for the deletion of the Area F Mechanical Well Guard Rail from the scope of work, per RFI#413

- Conn Acoustics Change Request #39, in the amount of $1,082.03, for the relocation of the Area F attic hatch and the extension of the catwalk, per RFI#501.

- Per RFI 514 and HHS proposal dated 5/3/12 in the amount of $8,152.88 to replace the cafeteria ductwork which was designed for a finished ceiling space with a spiral type duct and diffusers.

- Per RFI 522, the ductwork in the transportation lab is exposed under the sound barrier ceiling but it was designed for an above ceiling application. Per HHS proposal dated 5/3/12 to change the ductwork diffusers in the transportation lab to 30 degree elbows with type “F” face grilles in the amount of $2,044.72.

- Secondino PCO#42, in the amount of $924.59, to provide two (2) ADA compliant shower seats in the new addition that were not shown on the drawings, per RFI#404A

Field Items: None

# Site Items

Fucci CO#46, in the amount of $9,602.80, to install and remove temporary sewer bypass at SMH#6, per RFI#476 and the input of the Town Officials.  Contractor reserves right for additional time added to the contract as a result of the additional work.

# Auditorium & Stage Items (need design package in order to issue for bid/pricing)

JCJ Proposal Request #37, to provide new Direct Applied Finish System on ½” cement 	board on new stell support framing system:

- Price for the replacement of the lights:

    - Ducci Quote #71, in the amount of $9,299.00, to furnish and install (12) new light fixtures.

- Prices for the replacement of the DAFS ceiling:

- Removal and disposal of the existing DAFS ceiling at the Auditorium Entrance Canopy:

    - Secondino/Deedy proposal dated 2/8/2012, in the amount of $9,460.00 for the removal & disposal of eight (8) sections of exterior elevated plaster ceiling, includes both the framing and panel removal.

- Conn Acoustics Change Request #27, to furnish and install new framing and DAFS per SKA-77, in the amount of $35,151.12.

- Total change: $53,910.12 (w/ Deedy)

Pool & Fieldhouse items

- Ducci PCO#45, in the amount of $640.00, to furnish and install a wall mounted exit sign in the 2nd Floor Pool Lobby.

- Ducci EWO-11-1 & 12, in the combined amount of $2,026.00, for rewiring of the Fieldhouse bleachers due to the handicapped retro-fit and the reworking of the electrical circuit.

- Ducci quote #70, in the amount of $927.00, to furnish and install a door contact that was not shown in the drawings at door A109C, per RFI#498.

- Ducci EWO-20 for T&M work performed on 11/8/2012, in the amount of $613.00, to troubleshoot and re-feed the lights in the exterior Area A canopy by the outdoor bathrooms.

- Ducci EWO-19 for T&M work performed from 11/3/2012 to 11/9/2012, in the amount of $4,734.00, for the installation of 230 LF of conduit & 1,300 LF of wire, to rework the power to the lapboard and scoreboard in the pool area, per RFI#209.

##### VIII.	WATERFORD HIGH SCHOOL

##### Architect’s Report Waterford High School: Jeter, Cook & Jepson

##### Construction Manager’s Report Waterford High School: O&G

##### Punch List Items:

- Possible elimination of the retention pond on west side of property

- Practice field layout

- Musco lighting

- Aud/field house lobby layout and concession stand

- Football field concession stand

- Scoreboards

- Auditorium catwalk

- WHS sign(s) on building

- Diving board and pool scoreboard

##### IX.	Bill List—See Attached

##### X.	Adjournment

##### IX.	Bill List May 10, 2012

| Project #152- | School | Stage | Vendor | Description | Invoice# | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| n/a | WHS | n/a | Allied Restoration | Roofing | 00008 | $103,165.25 |
| n/a | WHS | n/a | Advanced Performance | Entrances & Storefronts | 00007 | $150,463.99 |
| n/a | WHS | n/a | CJ Fucci | Sitework | 00013 | $101,349.22 |
| n/a | WHS | n/a | Conn Acoustics | Drywall & Acoustical | 00011 | $118,181.71 |
| n/a | WHS | n/a | Manafort Brothers | Concrete | 00008 | $17,336.12 |
| n/a | WHS | n/a | M Frank Higgins & Co | Construction Management | 00007 | $76,266.00 |
| n/a | WHS | n/a | A Secondino & Son | Casework | 00002 | $81,309.55 |
| n/a | WHS | n/a | HHS Mechanical | Fire Protection, Plumbing | 00014 | $455,245.87 |
| n/a | WHS | n/a | Professional Painting | Painting | 00008 | $22,961.50 |
| n/a | WHS | n/a | Joe Capasso Mason Ent. | Masonry | 00010 | $371,895.47 |
| n/a | WHS | n/a | Ducci Electrical Contr. | Electrical | 00012 | $433,159.48 |
| n/a | WHS | n/a | O&G Industries | Construction Management | 00016 | $99,156.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | RI420180 | $140.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | RI419369 | $225.00 |
| n/a | WHS | n/a | A Royal Flush | Portable Toilets | C-419151 | $249.00 |
| n/a | WHS | n/a | CL&P | Electrical Service | April 11, 2012 | $671.24 |
| n/a | WHS | n/a | Vanasse Hangen Brustlin | Inspection | 0146474 | $1,844.10 |
| n/a | WHS | n/a | Van Zelm Engineers | Professional Services | 0037068 | $8,429.10 |
| n/a | WHS | n/a | Gagnon Electrical | Lighting | 12-314 | $61,300.00 |
| n/a | WHS | n/a | CLA Engineers | Professional Services | Invoice #1 | $1,730.00 |
| n/a | WHS | n/a | JCJ Architecture | Professional Services | 000000043 | $47,912.29 |
| n/a | WHS | n/a | Granite Group | Plumbing | 6026261-00 | (8.05) |
| n/a | WHS | n/a | Granite Group | Plumbing | 6020103-00 | $917.90 |
| n/a | WHS | n/a | Granite Group | Plumbing | 6024426-00 | $345.74 |
| n/a | WHS | n/a | Special Testing Labs | Inspection | 26252 | $4,789.00 |