AGENDA

REGULAR MEETING

WATERFORD SCHOOL BUILDING COMMITTEE

WATERFORD, CONNECTICUT

DATE:		Tuesday, March 19, 2013

PLACE:	Board of Education Offices, Conference Room B

TIME:		5:30 p.m.

I.	Establishment of Quorum and Call to Order

##### II.	Recognition of Visitors/Public Comment

##### III.	Correspondence/Informational Items

1.	Letter to Ed Murphy, Chairman Recreation & Parks Commission from Jerome Belair dated February 14, 2013

2.	Invoice submitted for immediate payment authorized by Superintendent by Vanguard Lighting in the amount of $815.00.  The item is listed on the bill list.

##### IV.	Superintendent’s Report

##### V.	Old Business

1.	Approval of Minutes:  February 12, 2013

##### VI.	New Business

##### VII.	Consent Agenda--WATERFORD HIGH SCHOOL CHANGE ORDERS:

##### Items to be Approved / Reviewed Total in Bold $67,482.15

New Building Addition Items Subtotal in Bold $58,609.15:

- Ducci PCO#123, in the amount of $4,732.00, for additional work that includes the following:

  - Install control wiring to the hood switch in Food Lab (KEF-3 not shown to be switched on/off from the relocated hood switch) for $1,345.74. The switch has to be wired to the unit disconnect located in area F Electrical room.

  - Install 60A power to the commercial dishwasher in the Food Lab (the special purpose receptacle on EP-138 was for a 20A circuit) for $1,434.81.

  - Re-feed the power to the Vehicle Lift from the wall side to the middle of room side (the dimensions provided under RFI#444 were conflicting with the vehicle lift location) for $754.63.

  - Relocate (4) fixtures over the Vehicle Lift, due to conflicts with the operation of the Vehicle Lift for $1,196.82.

- HHS T&M#13 & 14, in the combined amount of $5,850.38, to install additional sprinkler pipes and (9) additional heads in the 2nd floor landings of Stairs #3 & 4, per the request of the Fire Marshal.

- HHS Proposals date 2/27/2013, to address the additional cooling need of Data Room H270, the equipment load far exceeds the cooling design load, per RFI#820:

  - Purchase and install (2) new 3-ton Mitsubishi Wall-mount A/C Units using soft tubing, in the amount of $21,431.40 (reduced from $37,795).  This price excludes any wiring, additional roofing, ceiling repair, cleaning and temporary protection for the installed IT Equipment.

- Capasso Proposal #56, in the amount of $8,355.00, to build a separation wall under Stair #2 with ground face block and glazed block base to match the adjacent walls, per RFI#801 as requested by the Fire Marshal.

- Secondino PCO#84, in the amount of $4,568.85, to furnish (2) vent-less dryers and the restocking fee for (5) ducted-vented hoods that were exchanged for (5) recirculating hoods, per RFI’s #728, 818 & 828.

- Secondino PCO#80, in the amount of $1,256.19, to supply and install fire-rated glass in the Main Office doors (F104A & F104B), per JCJ PR#27, changing these doors from WD-1 (no glass) to WD-6 (rated glass).

- RFI#727, to added sound insulation in the gaps of the wall penetrations.  If this does not provide enough sound insulation for the owner, then a furred sound wall should be built.

  - Secondino PCO#83, in the amount of $154.30, to supply and install an additional threshold sweep and auto door bottom hardware, per RFI#727A.

- Add HHS Proposal dated 3/14/2013, in the amount of $12,261.03, to install and insulate additional chilled water supplies and return piping for (2) condensing units in the walk-in cooler and freezer.  This piping was not shown on the contract drawings and was added per RFI#839 on 3/13/13, it is required for the condensing units to run and be able to turn the walk-in cooler and freezer and move the food into the new kitchen. The only available window to get this done is this Saturday 3/16/13.

# Music Room & Aux Gym Items Subtotal in Bold $7,013.00:

- Ducci PCO#122, in the amount of $7,013.00, to supply and install (12) vandal resistant exit signs in lieu of the specified signs and wire guards, per JCJ Proposal Request #56.

Existing Building Multiple Areas Subtotal in Bold $1,860.00:

- Capasso T&M #76, in the amount of $1,860.00, for the work done to chip out the existing 8x8 bricks that had damages and install new 8x8 brick in their place, on the exteriors of Areas A & C.

VIII.	WATERFORD HIGH SCHOOL

Architect’s Report Waterford High School: JCJ Architecture

Construction Manager’s Report Waterford High School: O&G

- Discussion and possible action on quotation from iWeiss Theatrical Solutions, Fairview, New Jersey to repair the fire curtain following an inspection performed in January 2013 in the amount of $5,395.00

Pending Items:

Practice field layout - ongoing

WHS sign(s) on building - ongoing

Diving board and pool scoreboard – investigating

Tennis Court Lighting

Remove White Pines (Rope Ferry Road) to add visibility

Removal of White Pines by the Tennis Court

Emergency Radio System (per 10/16/12 meeting)

Additional Technology Requests (new item)

Stair #9—Auditorium Balcony Outside Stairs (added 11/20/12)

IX.	Bill List—See Attached

X.	Adjournment

IX.	Bill List March 19, 2013

| Project #152- | School | Stage | Vendor | Description | Invoice# | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78565 | $131,864.90 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78566 | $54,369.00 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78567 | $239,971.68 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78568 | $23,442.48 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78569 | $6,108.48 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78570 | $85,201.08 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78571 | $82,893.50 |
| n/a | WHS | n/a | Contrax Furnishings | Furnishings | 78572 | $3764.64 |
| n/a | WHS | n/a | Insalco | Furnishings | SJK-3306 | $1,332.03 |
| n/a | WHS | n/a | E+ | Information Tech | V1465425 | $668.80 |
| n/a | WHS | n/a | Special Testing | Testing | 26709 | $844.00 |
| n/a | WHS | n/a | VHB | Professional Services | 0160577 | $2,410.10 |
| n/a | WHS | n/a | Midwest | Furnishings | FY13/925682 | $8,910.81 |
| n/a | WHS | n/a | Insalco | Furnishings | SJK-3315 | $12,415.11 |
| n/a | WHS | n/a | HB Communications | Information Tech | P106875CH-1 | $159,648.00 |
| n/a | WHS | n/a | William B Meyer | Moving | COM-1597-2/5 | $2,960.00 |
| n/a | WHS | n/a | CL&P | Utilities | 51060116092 | $1,015.15 |
| n/a | WHS | n/a | Special Testing Lab | Testing | 26831 | $1,585.00 |
| n/a | WHS | n/a | Vanguard Lighting | Light fixture | 1817 | $815.00 |
| n/a | WHS | n/a | CL&P | Utilities | 51235106002 | $21,002.17 |
| n/a | WHS | n/a | E+ | Information Tech | V1457528 | $5,076.63 |
| n/a | WHS | n/a | William B Meyer | Moving | COM-1597-2/1 | $1,855.00 |
| n/a | WHS | n/a | Yankee Gas | Utilities | 57242906097 | $2,258.09 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1497975 | $140.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1497214 | $75.00 |
| n/a | WHS | n/a | Cynthia Kaplan | Professional Services | 012013.152 | $320.00 |
| n/a | WHS | n/a | AT&T | Utilities | 8604400837242 | $197.87 |
| n/a | WHS | n/a | E+ | Information Tech | V1463632 | $70,000.00 |
| n/a | WHS | n/a | Royal Flush | Portable toilets | 447356 | $341.00 |
| n/a | WHS | n/a | Royal Flush | Portable toilets | 447175 | $260.83 |
| n/a | WHS | n/a | VanZelm | Professional services | 0038233 | $3,371.64 |
| n/a | WHS | n/a | Mystic Air | Professional services | 33534 | $375.00 |
| n/a | WHS | n/a | Brock Enterprises | Pool cover | 0128184-IN | $17,405.58 |
| n/a | WHS | n/a | Bartholomew Contract | Auditorium repairs | 34881 | $12,950.00 |
| n/a | WHS | n/a | MCI | Utilities | 8604400837 | $33.59 |
| n/a | WHS | n/a | Insalco | Furnishings | SJK-3301 | $13,313.14 |
| n/a | WHS | n/a | Interscape | Furnishings | 2529-0 | $106,697.68 |
| n/a | WHS | n/a | E+ | Information Tech | V1455635 | $165,894.14 |
| n/a | WHS | n/a | E+ | Information Tech | V1455024 | $23,108.80 |
| n/a | WHS | n/a | Flinn Scientific | Science FF&E | 1622105 | $52,492.58 |
| n/a | WHS | n/a | Robert H. Lord | Furnishings | 100023 | $465,658.59 |
| n/a | WHS | n/a | Red Thread | Furnishings | 333046 | $183,407.35 |
| n/a | WHS | n/a | HB Communications | Information Tech | P106875CH-2 | $83,599.00 |
| n/a | WHS | n/a | Midwest | Furnishings | 2044274-00 | $34,314.54 |
| n/a | WHS | n/a | Hillyard | Custodial FF&E | 600599143 | $17,336.92 |
| n/a | WHS | n/a | E+ | Information Tech | V1465223 | $35,352.92 |
| n/a | WHS | n/a | Waterford Bd of Ed | Cust/Maint time | 3/14/13 | $6,130.74 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | 449237 | $260.83 |
| n/a | WHS | n/a | Fastenal | Cord reels | CTWAF64769 | $8.89 |
| n/a | WHS | n/a | Thomas Testing | Testing for field | 3492 | $800.00 |
| n/a | WHS | n/a | Otis | Elevator cleandown | NK023556001 | $1,725.00 |
| n/a | WHS | n/a | EBP | Paper towel dispensers | 11543379 | $3,367.50 |
| n/a | WHS | n/a | Arrow Equipment | Blower rental for data rm | 313260-1 | $444.09 |
| n/a | WHS | n/a | Rexel | Electrical supplies | S104341208 | $39.98 |
| n/a | WHS | n/a | Rexel | Electrical supplies | S104357739 | $11.60 |
| n/a | WHS | n/a | FW Webb | Temp fan for data room | 38981841 | $198.79 |
| n/a | WHS | n/a | Rexel | Electrical supplies | S104444267 | $95.76 |
| n/a | WHS | n/a | Rexel | Science Rm Cords | S104426090.002 | $859.61 |
| n/a | WHS | n/a | Rexel | Science Rm Cords | S104426090.001 | $395.51 |
| n/a | WHS | n/a | Otis | Emergency Elev Repair | NK023477001 | $1,564.27 |
| n/a | WHS | n/a | Hillyard | Custodial FF&E | 600603894 | $530.70 |
| n/a | WHS | n/a | Rexel | Courtyard lights | S104338439.001 | $317.83 |
| n/a | WHS | n/a | Rexel | Courtyard lights | S104376499.001 | $17.04 |
| n/a | WHS | n/a | Rexel | Courtyard lights | S104357739.001 | $17.33 |
| n/a | WHS | n/a | Rexel | Courtyard lights | S104366603.001 | $16.50 |
| n/a | WHS | n/a | Rexel | Courtyard lights | S104333874.001 | $709.66 |
| n/a | WHS | n/a | Rexel | Courtyard lights | S104341208.002 | $1.54 |
| n/a | WHS | n/a | Rexel | Courtyard lights (credit) | S104444333 | -(53.41) |
| n/a | WHS | n/a | Adv. Performance Glass | Entrance & Storefronts | 00017 | $27,048.57 |
| n/a | WHS | n/a | A. Secondino | General Trades | 00018 | $171,765.32 |
| n/a | WHS | n/a | A. Secondino | Casework | 00011 | $61,055.22 |
| n/a | WHS | n/a | Ducci Electrical | Electrical | 00022 | $34,274.62 |
| n/a | WHS | n/a | M. Frank Higgins | Flooring | 00016 | $18,430.95 |
| n/a | WHS | n/a | Allied Restoration | Roofing | 00013 | $22,489.92 |
| n/a | WHS | n/a | O&G | Construction Mgmt | 00026 | $80,608.00 |
| n/a | WHS | n/a | HHS Mechanical | Fire Protection | 00024 | $48,625.28 |
| n/a | WHS | n/a | Conn Acoustics | Drywall & Acoustical | 00020 | $16,381.55 |